## Slide 1
Wearable Device in Clinical Practice
Jinhee Ahn, M.D.
Division of cardiology, Pusan National University Hospital, Busan, Korea
2022 추계 KHRS. Update in AI & wearable monitoring
Notes: 2022.10.21 14:24~14:32 (8’)

## Slide 2
The author has no financial conflicts of interest
to disclose concerning the presentation
Jinhee Ahn
Korean Heart Rhythm Society COI Disclosure

## Slide 3
Symptom-related ECG documentation is mandatory to diagnose arrhythmia.
Electrocardiogram (ECG)

## Slide 4
Ideal ECG monitoring
Immediate monitoring
  Patient (consumer)-driven health care device
Longer monitoring  easy to use, comfortable, long battery
JAMA Cardiol 2019;4:91-92.

## Slide 5
Various wearable ECG devices

## Slide 6
Mobile health (mHealth)
Data from Allied market Research; Global Observatory for eHealth series Vol 3 by WHO.
medical and public health practice supported by (wearable) mobile devices
Contributing factors for market growth
  Rise in prevalence of lifestyle disorder
  Development of wireless technologies
  Favorable government initiatives
  Affordability of smartphones
  Increasing demands from
  consumers/physicians
  More recent attention
  by COVID-19 pandemic
$46,068 million in 2019

## Slide 7
New infectious disease since 2000
Data source : World Health Organization

## Slide 8
Changes in medical service
“온라인을 통한 대면 서비스”
Nat Rev Cardiol 2021;18:581-99.

## Slide 9
Increasing number of wearables use
Data from www.eMarketer.com;
Data from Global Observatory for eHealth series Vol 3 by WHO.
[mHealth market by application]

## Slide 10
Wearable health technology in cardiovascular medicine
Heart rhythm 2020;17:889-95.

## Slide 11
Recommendation for early diagnosis of AF
NEJM 2020;383:305-16; Int J Cardiol 2013;168:4744-9; 2020 ESC guideline for AF.
“Advances in wearable technology will likely yield inexpensive and practical options for AF detection and AF burden assessment in the near future.”
Sx (+)
Sx (-)

## Slide 12
Representative clinical trials using wearable device
Circulation 2017;136:1784-94; JAMA 2018;320:146-55; NEJM 2019;381:1909-17; JACC 2019;74:2365-75.

## Slide 13
Representative clinical trials using wearable device
J Arrhythm 2015;31:201-9; J Korean Med Sci 2020;35:e363; J Clin Med 2022;11:3333; 2021 Sensors 2021;21:3122.
2021 Sensors
(Seoul Nat’l Univ. Hospital)
Mobicare
Holter
monitoring

## Slide 14
Representative clinical trials using wearable device
Nat Rev Cardiol 2021;18:581-99; Europace 2021;23:11-28.
Wearable ECG is capable of recording ECGs of good quality
Higher arrhythmia detection rate compared to conventional ECG
AF screening via ECG patches in selected high-risk individuals is feasible and clinically valuable (healthy population 0.12% vs. hospitalized patients 8%)
AF screening through PPG has shown variable accuracy depending on the algorithms and devices used.
AF screening through PPG coupled with ECG is feasible and practical; no clinical studies available; the HEARTLINE study aims to examine this application and its effect on clinical outcomes
The IPED trial showed that a single-lead ECG monitor can improve outpatient arrhythmia detection in patients who present to the emergency room with palpitations or presyncope and no clear aetiology.
Wearables can be used to assess AF burden; rhythm-guided anticoagulation is a feasible approach in some patients with AF; no clinical studies exist but a trial examining smartwatch-guided anticoagulation therapy is under development.

## Slide 15
Intermittent ECG monitoring wearables in Korea
ER-2000
Gallaxy watch
Apple watch
Memo watch
Kardiamobile

## Slide 16
Patch-typed continuous monitoring wearables in Korea
Reusable vs. disposable
Should be connected with smartphone or not
Final analysis report service or not

## Slide 17
Case. M/63 with known paroxysmal AF on HCMP
 RFCA for documented AF

## Slide 18
Case. M/60 with skipped beating sensation
 Rx. Beta-blocker
Holter – PAC, PVC < 1%
Frequent symptomatic PACs on ER-2000®

## Slide 19
Case. M/68 on AAD with known paroxysmal AF
Intermittent chest fluttering, but normal ECG for 1 yr
 Cryoballoon ablation

## Slide 20
Case. M/70 with lightheadedness, recurrent syncope
 fu loss

## Slide 21
Case. M/70 with recurrent syncope
Paroxysmal AF with tachy-brady syndrome
 Pacemaker implantation
Detected 52 hrs later

## Slide 22
Case. F/82 with syncope
Detected 32 hrs later
Sick sinus syndrome
 Pacemaker implantation

## Slide 23
Use of patch type ECG device in PNUH
(%)
Chart: Total prescription rate
| 2022.5 | 2022.6 | 2022.7 | 2022.8 | 2022.9
Patch ECG | 19.7 | 22.8 | 20.6 | 22.3 | 30.4
Holter | 80.2 | 77.2 | 79.4 | 77.7 | 69.6
(%)
Chart: Prescription rate in neurology
| 2022.5 | 2022.6 | 2022.7 | 2022.8 | 2022.9
Patch ECG | 25 | 44.7 | 44.4 | 58.3 | 76.9
Holter | 75 | 55.3 | 55.6 | 41.7 | 23.1

## Slide 24
Is the Holter monitoring useless?
= Limitation of wearable ECG device

## Slide 25
1. Short inter-electrode distance  low amplitude
Trans. KIEE 2018;67:1690-8.
Unpublished

## Slide 26
2. Single lead
leg
Rt finger

## Slide 27
2. Single lead
Kardiamobile
Diagnostics 2022;12:654.

## Slide 28
3. Accuracy (small p wave)
Sensors 2021;21:3122.

## Slide 29
3. Accuracy (artifact)
Courtesy of Dr. SY Roh

## Slide 30
3. Accuracy (환자 factor)
JAMA Cardiol 2018;3:409-16.

## Slide 31
4. Generalizability
Clin Cardiol 2020;43:1032-9; EHJ 2020,41:1075-85; J Am heart Assoc 2019;8:e010959.
Difficult use of technologies – old age, those with low health literacy or low socioeconomic population
5. Possibility of excessive anxiety or unnecessary use of medical service
6. Limited data
7. Concerns for patient privacy
Clinical prognostic impact of mHealth devices

## Slide 32: “A clinician’s ABCD guide to wearable device use in clinical practice”
Nat Rev Cardiol 2021;18:581-99.
A : Assess
B : Benefit
C : Clinical workflow
D : Data

## Slide 33
Technological innovations reach deeply into our daily lives and an emerging trend supports the use of smart wearable devices to manage health.
Previous studies demonstrated wearable ECG devices have comparable quality of ECG and higher arrhythmia detection rate compared to conventional ECG.
However, limitations of mHealth devices should be recognized.
Attempts to overcome these challenges are needed to accelerate the integration of devices into the clinical workflow for optimal patient care.
Summary

## Slide 34
Thank you for your attention !